## Slide 1: System Breakdown of Patient Monitor
Team 3
Karman Chu, Will Lenk, Brian Cefali, Ryan Dougherty, Dean Gasinowski

## Slide 2: Block Diagram
Sensor Package
Arduino
iPad
Power
Voltage in
Voltage in
Information out
Data out via WiFi
Patient Input
User
http://www.cs.tufts.edu/Faculty/ming-chow.html

## Slide 3: Sensor Package
Input
  Body Heat
  9V input from battery
  3 Leads of ECG
  Pulse
  Blood Pressure *
  SPO2 *
Output
  Voltage outputs into the Arduino
Arduino
3 Leads of ECG
Thermistor
Pulse Sensor
Blood Pressure
SPO2
A0
A1
A2
A3
A4
A5
A6
A7
Battery
* Indicates that data will be simulated for these inputs

## Slide 4: Power
Input
  9V Battery
Output
  9V to Arduino and Sensors
9V Snap and throw switch soldered to a proto board
User provides 9V battery
Arduino
9V Battery
Sensor Package
9V Snap
Switch
Proto
Board

## Slide 5: Arduino
Inputs
  9V power supply
  Voltage from sensor system
Outputs
  Information to Wi-Fi shield
Voltages from Sensor Package
Processing Routine
Dispatcher
(Serial Port)
Setup Wi-Fi Shield Handshake
Wireless Communication
Data
Information
Information Out
Vin

## Slide 6: Wireless Communication
Input
  Information at 1 Hz (while testing auxillary thermometer we found that data transmission was more reliable at 1/3 Hz)
Output
  TCP Wi-Fi signal
Wi-Fi Shield
Router
Information from Arduino
Output to iPad

## Slide 7: iPad
Input
  Information from router (via Wi-Fi)
Output
  Visual Display
Listener (main Loop)
UI (Async) Event Listeners
Info from Router
User Input
Event Process (Handler)
Sensor Update
Event Data
Interrupt
User Event
View Update

## Slide 8: Task List
Task | Time of Task | Expected by | Person Assigned
User Interface Planning | 2 hours | Oct 30 | All
User Interface Implementation | 5 hours | Nov 13 | All
Hardware Module Planning | 2 hours | Oct 30 | Karman, Will
Software Module Planning | 2 hours | Oct 30 | Brian, Ryan
Hardware Implementation | 15 hours | Nov 13 | Karman, Will
Software Implementation | 15 hours | Nov 18 | Brian, Ryan
Wireless Communication Implementation | 10 hours | Nov 20 | All
Finalize working product | 3 hours | Dec 2 | All